## Sheet1
Data (Appendix 1)
Pipe Section Type | Diameter (m) | Volumetric Flow Rate (L/min) | Inlet Pressure (mbar) | Outlet Pressure (mbar) | Tempuerature (°C) |  | ρ of water @ 29°C (kg/m³) | ρ of water @ 30°C (kg/m³) | ρ of water @ 31°C (kg/m³)
Galvanized Steel, 1/2" | 0.016 | 25 | 446 | 403 | 29.4 |  | 996.02 | 995.71 | 995.41
Galvanized Steel, 1/2" | 0.016 | 3.6 | 20 | 17 | 30.1 | g (m/s²)
PVC, 18x1 | 0.017 | 25.3 | 460 | 440 | 30.6 | 9.81 | μ @ 29°C (N·s/m²) | μ @ 30°C (N·s/m²) | μ @ 31°C (N·s/m²)
PVC, 18x1 | 0.017 | 3.1 | 80 | 80 | 30.8 |  | 0.000815 | 0.000798 | 0.000781
Copper, 20x1.5 | 0.016 | 25.3 | 448 | 417 | 30.2 | l for pipes (m)
Copper, 20x1.5 | 0.016 | 3.1 | 70 | 70 | 30.3 | 1
Expansion | 0.017 to 0.0286 | 25.8 | 470 | 470 | 31.1 | l for exp/con (m)
Expansion | 0.017 to 0.0286 | 3.1 | 60 | 60 | 31.3 | 0.145
Constriction | 0.017 to 0.0145 | 24.3 | 510 | 460 | 30.9
Constriction | 0.017 to 0.0286 | 2.1 | 90 | 90 | 31
Table 1 (Appendix 2)
Pipe Section Type | Volumetric Flow Rate (m³/s) | Reynolds Number | d/k |  | Roughness, k (mm) | Roughness, k (m)
Galvanized Steel, 1/2" |  |  |  |  | 0.1 | 0.0001
Galvanized Steel, 1/2" |  |  |  |  | 0.1 | 0.0001
PVC, 18x1 |  |  |  |  | 0.001 | 1e-06
PVC, 18x1 |  |  |  |  | 0.001 | 1e-06
Copper, 20x1.5 |  |  |  |  | 0.001 | 1e-06
Copper, 20x1.5 |  |  |  |  | 0.001 | 1e-06
Expansion |  |  |  |  | 0.001 | 1e-06
Expansion |  |  |  |  | 0.001 | 1e-06
Constriction |  |  |  |  | 0.001 | 1e-06
Constriction |  |  |  |  | 0.001 | 1e-06
Table 2 (Appendix 2)
Pipe Section Type | Volumetric Flow Rate | f | Pressure Drop (theoretical) | Pressure Drop (experimental) | Relative Difference (%)
Galvanized Steel, 1/2"
Galvanized Steel, 1/2"
PVC, 18x1
PVC, 18x1
Copper, 20x1.5
Copper, 20x1.5
Table 3 (Appendix 2)
Fitting | Volumetric Flow Rate | f | Pressure Drop | Minor Pressure Drop | Coefficient of resistance (ζ)
Expansion
Expansion
Constriction
Constriction